## Truth Data
Patient | Tumor Side | Clock Hour | Distance (cm) | X-Dim | Y-Dim | Notes
IRST001 | Left | 3 | 1 | 5.3 | 1 | calcifications
IRST002 | Right | 10 | 4 | 1.6 | 1.4
IRST003 | Left | 1 | 2 | 2 | 2 | upper outer left breast, no distance information provided
IRST004 | Right | 11 | 4 | 2.6 | 2.2
IRST005 | Right | 11 | 5 | 1.5 | 0.9
IRST007 | Right | 9 | 10 | 1.2 | 1.3
IRST008 | Left | 3 | 3 | 1.2 | 1.4
IRST009 | Left | 2 | 4 | 2.3 | 2.2 | upper outer quadrant, no clock or distance information provided
IRST010 | Right | 9 | 7 | 2.4 | 1.5
IRST011 | Left | 12 | 2 | 1.3 | 1.1
IRST012 | Left | 5 | 5 | 1 | 1 | spiculated mass, lower-outer, no distance given
IRST013 | Left | 3 | 6 | 1.3 | 0.5 | spiculated mass
IRST014 | Right | 10 | 9 | 1.6 | 2.3
IRST015 | Right | 9 | 7 | 2 | 2 | Upper outer; unknown size
IRST016 | Right | 7 | 3 | 2.2 | 2.2

## Histograms
IRST004
n = 15
n = 2
IRST005
| n = 15 |  | n = 2
n = 7
IRST008
IRST011

## IRST004
Epsilon: 5.200000e+00
minPts: 10
Scaling Factor: .75
n = 1
Epsilon: 5.250000e+00
minPts: 10
Scaling Factor: 7.500000e-01
n = 15
Epsilon: 5.250000e+00
minPts: 10
Scaling Factor: 7.500000e-01
n = 7

## IRST005
Epsilon: 5.250000e+00
minPts: 10
Scaling Factor: .75
n = 7

## IRST008
Epsilon = 5.15
minPts = 11
Scaling factor = 0.45
Epsilon: 5.15
minPts: 11
s: 0.6
50%

## IRST011
Epsilon: 5, minPts: 10 | minPts: 10, Scaling factor: .5 | Epsilon = 5.25 | Epsilon = 5.15 | Epsilon = 5.25
|  | minPts = 10 | minPts = 11 | minPts = 11
s = 0.05 | Epsilon = 4.75 | Scaling factor = 0.6 | Scaling factor = 0.5 | Scaling factor = 0.45
s = 0.1
Epsilon = 5.3
minPts = 10
| Epsilon = 4.9 |  |  | Scaling factor = 0.45
|  | Epsilon = 5.25 | Epsilon = 5.15
|  | minPts = 10 | minPts = 11
|  | Scaling factor = 0.75 | Scaling factor = 0.7
Epsilon = 5.3
minPts = 11
Scaling factor = 2
s = 0.2
Epsilon = 5
Epsilon = 5.15
|  | Epsilon = 4.75 | minPts = 12
|  | minPts = 10 | Scaling factor = 0.75
Scaling factor = 0.75
s = 0.333
Epsilon = 5.1
Epsilon = 5.15
minPts = 10
|  | Epsilon = 5.25 | Scaling factor = 0.75
minPts = 11
Scaling factor = 0.6
s = 0.5
Epsilon = 5.25
|  | Epsilon = 5.1 | Epsilon = 5.25
|  | minPts = 12 | minPts = 10
|  | Scaling factor = 0.75 | Scaling factor = 0.8
s = 0.6
Epsilon = 5.15
|  | Epsilon = 4.75 | minPts = 10
|  | minPts = 12 | Scaling factor = 0.4
Scaling factor = 0.6
s = 0.75
Epsilon = 5.15
minPts = 10
Scaling factor = 0.45
s = 1
s = 2

## IRST011 - Best
Epsilon = 5.25 | Epsilon = 5.15 |  | Epsilon = 4.75
minPts = 10 | minPts = 11 |  | minPts = 10
Scaling factor = 0.6 | Scaling factor = 0.5 |  | Scaling factor = 0.5
Epsilon: 5.250000e+00
minPts: 10
Scaling Factor: 7.500000e-01
n = 7
Epsilon: 5.250000e+00
minPts: 10
Scaling Factor: 7.500000e-01
n = 15

## DBSCAN+Change over time Results
IRST004
lowchange | -211.374 | 30%
aveRbreastchange | -29.946
aveLbreastchange | -22.124
totRbreastchange | -419.24
totLbreastchange | -309.73
IRST005
lowchange | -106.244 | 30%
aveRbreastchange | -17.6041
aveLbreastchange | -13.0874
totRbreastchange | -246.4569
totLbreastchange | -183.224
IRST008
lowchange | -453.7982 | 50%
aveRbreastchange | -36.7201
aveLbreastchange | -32.3959
totRbreastchange | -514.0817
totLbreastchange | -453.5421
S=1
5.7
s = 4/3
IRST011
lowchange | -473.7427 | 30%
aveRbreastchange | -41.6399
aveLbreastchange | -37.3378
totRbreastchange | -582.9587
totLbreastchange | -522.7291

## Volunteers
IVT016
IVT019
IVT016
IVT021
IVT306

## Summary
IRST004
| Tumor Region | Corresponding Region | Difference | Right (3 o'clock) | Left (9 o'clock) | Difference | Right (6 o'clock) | Left (6 o'Clock) | Difference | *Differences are breasts with tumors - normal breasts
Total Change | -207.6278 | -241.915 | 34.2872 | -287.53 | -343.12 | 55.59 | -296.0822 | -339.3319 | 43.2497
Rate of Change | -14.8306 | -17.2796 | 2.449 | -20.538 | -24.5088 | 3.9707 | -21.1487 | -24.238 | 3.0893 | [6 empty] | Cluster at 1 instead of 7
50-25%
IRST005
| Tumor Region | Corresponding Region | Difference | Right (3 o'clock) | Left (9 o'clock) | Difference | Right (6 o'clock) | Left (6 o'Clock) | Difference
Total Change | -96.8071 | -198.8425 | 102.0354 | -319.0114 | -334.845 | 15.8335 | -296.0822 | -339.3319 | 43.2497
Rate of Change | -6.9148 | -14.203 | 7.2882 | -22.7865 | -23.9175 | 1.131 | -21.1487 | -24.238 | 3.0893
Cluster at 1 instead of 7
IRST008
| Tumor Region | Corresponding Region | Difference | Right (3 o'clock) | Left (9 o'clock) | Difference | Right (6 o'clock) | Left (6 o'Clock) | Difference
Total Change | -431.2399 | -603.1235 | 171.8836 | -439.6025 | -517.4204 | -77.8179 | -508.9927 | -504.5536 | 4.4391
Rate of Change | -30.8029 | -43.0802 | 12.2773 | -31.4002 | -36.9586 | -5.5584 | -36.3566 | -36.0395 | 0.31708
Cluster at 1 instead of 7 - track nipple movement
Cluster at 1 instead of 7 - NOT tracking nipple movement
IRST011
| Tumor Region | Corresponding Region | Difference | Right (3 o'clock) | Left (9 o'clock) | Difference | Right (6 o'clock) | Left (6 o'Clock) | Difference
Total Change | -351.0627 | -579.3856 | 228.3229 | -668.7149 | -494.3611 | 174.3538 | -598.8137 | -633.9313 | -35.1176
Rate of Change | -25.0749 | -41.3847 | 16.3098 | -47.7653 | -35.3115 | 12.4538 | -42.7724 | -45.2808 | -2.5084
e = 6
Cluster at 1 instead of 7
Cluster at 15 instead of 7

## Statistics
IRST004 | Minute
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Max | 9549 | 9501 | 9325 | 9292 | 9326 | 9283 | 9296 | 9294 | 9288 | 9274 | 9239 | 9250 | 9283 | 9254 | 9254 | 9313.8667 |  |  | 597x233
Min | 5923 | 5936 | 5952 | 5960 | 5994 | 5984 | 5989 | 6001 | 6006 | 6013 | 6020 | 6020 | 6007 | 6002 | 6020 | 5988.4667 | 0.64296 |  | 139101
Range | 3626 | 3565 | 3373 | 3332 | 3332 | 3299 | 3307 | 3293 | 3282 | 3261 | 3219 | 3230 | 3276 | 3252 | 3234 | 3325.4 | 0.35704 | 3293 | 3626 | If standard deviation is < 200 --> epsilon = 6
Average | 8937.3712 | 8857.5637 | 8789.0453 | 8742.7668 | 8713.7398 | 8690.8905 | 8681.9856 | 8676.4517 | 8670.8261 | 8662.4357 | 8656.7672 | 8646.6322 | 8631.7109 | 8618.9534 | 8603.6281 | 8705.3845
Standard Deviation | 319.4319 | 278.1757 | 239.8645 | 228.6346 | 217.1847 | 213.4319 | 212.8877 | 214.2759 | 214.3523 | 213.036 | 213.9504 | 212.6715 | 213.5397 | 210.6845 | 208.9595 | 227.4054 |  |  | 319.4319 | If range is < 2500 epsilon = 1
392
IRST005 | Minute
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Max | 9197 | 9038 | 8974 | 8955 | 8925 | 8923 | 8920 | 8919 | 8883 | 8886 | 8881 | 8869 | 8870 | 8858 | 8845 | 8929.5333 |  |  | 615x238
Min | 7282 | 7122 | 7094 | 7086 | 7083 | 7085 | 7080 | 7085 | 7090 | 7087 | 7088 | 7091 | 7091 | 7086 | 7090 | 7102.6667 | 0.79541 |  | 146370
Range | 1915 | 1916 | 1880 | 1869 | 1842 | 1838 | 1840 | 1834 | 1793 | 1799 | 1793 | 1778 | 1779 | 1772 | 1755 | 1826.8667 | 0.20459 | 1834 | 1916
Average | 8652.9216 | 8510.5234 | 8462.2825 | 8448.0444 | 8439.59 | 8434.7063 | 8432.5714 | 8431.0061 | 8428.9021 | 8427.8162 | 8425.777 | 8423.0345 | 8422.5998 | 8420.3258 | 8416.3425 | 8451.7629
Standard Deviation | 241.1055 | 183.9255 | 170.09 | 168.3136 | 167.2566 | 167.6791 | 167.9688 | 168.8611 | 169.002 | 168.9653 | 167.8655 | 168.0884 | 168.3598 | 168.4053 | 167.7609 | 174.2432 |  | 168.3598 | 241.1055
160
IRST008 | Minute
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Max | 9443 | 9337 | 9257 | 9181 | 9122 | 9093 | 9071 | 9037 | 9035 | 9001 | 9024 | 9003 | 9013 | 9014 | 9000 | 9108.7333 |  |  | 595x228
Min | 6476 | 6534 | 6634 | 6861 | 6805 | 6910 | 7053 | 6974 | 7033 | 7257 | 7208 | 7098 | 7084 | 7116 | 7074 | 6941.1333 | 0.76203 |  | 135660
Range | 2967 | 2803 | 2623 | 2320 | 2317 | 2183 | 2018 | 2063 | 2002 | 1744 | 1816 | 1905 | 1929 | 1898 | 1926 | 2167.6 | 0.23797 | 2018 | 2967
Average | 8614.2749 | 8556.5524 | 8510.1085 | 8461.1074 | 8422.75 | 8390.2303 | 8365.3674 | 8347.0285 | 8323.4235 | 8300.9907 | 8280.9483 | 8264.5091 | 8251.1682 | 8234.375 | 1926 | 7949.9223
Standard Deviation | 289.9027 | 265.5153 | 251.3625 | 239.5721 | 233.404 | 227.3037 | 224.6685 | 224.1423 | 223.2594 | 220.9231 | 225.7464 | 225.9465 | 229.7722 | 230.5171 | 228.9002 | 236.0624 |  | 228.9002 | 289.9027
1041
IRST011 | Minute
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Max | 9597 | 9405 | 9272 | 9214 | 9171 | 9185 | 9144 | 9208 | 9129 | 9163 | 9216 | 9204 | 9196 | 9221 | 9187 | 9234.1333 |  |  | 483x174
Min | 7057 | 7030 | 7039 | 7117 | 7058 | 7035 | 6979 | 7042 | 7073 | 7122 | 7106 | 7173 | 7164 | 7179 | 7103 | 7085.1333 | 0.76728 |  | 84042
Range | 2540 | 2375 | 2233 | 2097 | 2113 | 2150 | 2165 | 2166 | 2056 | 2041 | 2110 | 2031 | 2032 | 2042 | 2084 | 2149 | 0.23272 | 2110 | 2540
Average | 9177.1905 | 9014.9825 | 8919.5576 | 8864.9698 | 8826.1618 | 8795.2743 | 8769.9513 | 8753.984 | 8737.0626 | 8728.0023 | 8711.5515 | 8700.0546 | 8678.7927 | 8665.5958 | 8644.5707 | 8799.1801
Standard Deviation | 211.6201 | 169.8498 | 170.2563 | 165.5167 | 165.2707 | 161.9124 | 170.3631 | 176.1874 | 175.3406 | 175.811 | 179.7821 | 172.2923 | 179.2463 | 186.5687 | 179.6409 | 175.9772 |  | 175.3406 | 211.6201
456
IRST016 | Minute
| 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15
Max | 8396 | 8422 | 8282 | 8200 | 8162 | 8142 | 8083 | 8051 | 8034 | 8024 | 7962 | 7984 | 7957 | 7942 | 7957 | 8106.5333 |  |  | 466x215
Min | 5673 | 5821 | 5728 | 5709 | 5700 | 5765 | 5707 | 5678 | 5697 | 5679 | 5639 | 5734 | 5691 | 5682 | 5676 | 5705.2667 | 0.70379 |  | 100190
Range | 2723 | 2601 | 2554 | 2491 | 2462 | 2377 | 2376 | 2373 | 2337 | 2345 | 2323 | 2250 | 2266 | 2260 | 2281 | 2401.2667 | 0.29621 | 2373 | 2723
Average | 7894.3169 | 7896.2428 | 7780.5222 | 7715.2248 | 7672.3213 | 7640.0089 | 7603.2041 | 7567.5698 | 7539.5006 | 7509.2863 | 7491.8258 | 7467.1617 | 7449.741 | 7429.3695 | 7415.4301 | 7604.7817
Standard Deviation | 175.4123 | 171.2974 | 164.1105 | 163.6222 | 165.597 | 162.6958 | 163.1645 | 164.2554 | 167.1857 | 168.007 | 169.4152 | 169.5679 | 171.543 | 172.0471 | 174.6089 | 168.1687 |  | 168.007 | 175.4123
442

## DBSCAN IRST004
New crop, diagonal/vertical/horizontal vessel check, change over time 25%, not tracking nipple for change over time
2018-08-07
New crop, both diagonal vessel check, change over time 25%, not tracking nipple for change over time, keep clusters with positive change
Same as above but with Old diagonal
Old diagonal vessel check at 1.5%; not tracking nipple;
Changed vessel check threshold to 1%

## DBSCAN IRST005
Clustering on 7 with nipple tracking for change over time check
New crop, diagonal vessel check, change over time 25%, not tracking nipple for change over time. Not eliminating positive change
Same as above with only Old diagonal
Old diagonal check only, threshold at 1.5%

## DBSCAN IRST008
New crop, diagonal vessel check, change over time 25%, not tracking nipple for change over time, keep clusters with positive change
Up/Down works
Same as above but with only old diagonal
Raised vessel check thresold to 1.5%

## DBSCAN IRST011
New crop, diagonal vessel check, change over time 25%, not tracking nipple for change over time, keep clusters with positive change
*Vessel check removed all clusters
Old and up/Down keep vessels
Just old diagonal vessel check